Minutes Of The Russell Owen PRD Review Meeting, February 15, 2007, 10:30 A.M. – PAGE 2 of 2

CITY OF CALHOUN

RUSSELL OWEN PRD REVIEW MEETING
CITY ANNEX
700 WEST LINE STREET
CALHOUN, GA

FEBRUARY 15, 2007, 10:30 A.M.

MINUTES

CITY OF CALHOUN:  
Terry Mills, Fire Department 

Robby Evans, Fire Department

Tim Duvall, Fire Department

Ross Wilburn, Building Inspection

Don McGinnis, Building Inspector/Code Enforcement
Jerry Crawford, Director of Water and Sewer 

Shawn Chastain, Street Department

Kevin McEntire, Street Superintendent
Lee Crump, Electric Department

Eddie Peterson, Director of Public Safety/Public Works

Cathy Harrison, City Administrator
ALSO:



Russell Owen, Property Owner

Mark Shamblin, Civil South Engineering

Michael Davis, Calhoun City School System

1. Building Inspector, Don McGinnis stated the purpose of the meeting was to provide a review of the PRD request by Russell Owen for approximately 19.7 acres located off of Tate Bend Road.  
· He stated according to the application there would be 24 single family lots with a minimum square footage of 10,000 square feet.  
a. The houses will have a minimum of 1,150 square feet of heated space.  
b. The exterior will be vinyl siding with masonry accents.  
c. The price range would be from $120,000.00 to $140,000.00 each.  
· The property will also include 27 single level townhouses.  
a. The units will be approximately 950 square feet and up.  
b. The exterior will be brick.  
c. This part of the development will have lawn service and the units will be divided by a two hour fire wall.  
d. The property includes a 4 acre lake.  
e. It will provide almost 7 acres of common area and green space including the lake.  
2. Russell Owens stated the lake has existed since 1961 and it is approximately 24 feet deep.

3. Mark Shamblin, Engineer stated the drainage for the development will go into the lake and may slightly raise the level.  He stated as a result they may need to raise the height of the dam.  The lake will have a floating system with a skimmer and it will be cleaned if needed at the end of the project.  He stated there are presently fish in the lake.  
4. Russell Owens stated:

· There will be three entrances into the project.  Two at the townhouse area and one entrance in the single family area.  
· There will be separate covenants for each development.  
· The street into the single family will be developed as a City street.  The street into the townhouse area may be developed as a private street.  
· There will be associations for both areas.  
· There will be a higher level of care required for the townhouses; therefore the fees for joining the association will vary.  
· The lake will lie between the developments and will serve as a buffer.  
Mr. Owens stated the start date for the project is as soon as it is fully designed and will take approximately two years to build out.  
He stated the green space and common areas will not include a pool but he will build docks at the lake for fishing.  
He stated the project will be all electric and this will be from Georgia Power due to the territorial agreement.  
5. Kevin McEntire, Street Department stated the project will require a street bond to be in place and it will require the developer to provide a copy of the plan for the streets, in order for them to be reviewed prior to the start of the project.  The bond will need to be left in place one year after the project is completed and dedicated to the City.  

6. Russell Owen discussed the need to move forward with the clearing of the property during the allowable burn season.  He stated since his plans will not be fully complete, he may request an erosion permit through the county since the property will not be annexed at that time.  

7. Jerry Crawford, Director of Water and Sewer stated there is a 6-inch water line in the immediate area and also a 12-inch water line on the east side of Highway 41.  He stated there might need to be a loop of the lines in order to provide proper fire flow.  The sewer can be served from the 6-inch line and the owner is currently working on easements in order to provide sewer by gravity flow.  

8. The Fire Department stated the requirements for a water flow is 500 gallons per minute for the single family development and 750 gallons per minute for the townhouse development.  He stated each of the hydrants will need to be tested at the same time and this may require a loop in order to have proper flows for all hydrants.  

9. Mike Davis, School Superintendent stated according to his estimate based on Census information, the development will add approximately 25 students to the City School System and an additional bus route.  The average cost to the School System will be $6,500 per student per year.  

10. Kevin McEntire, Street Superintendent stated Tate Bend Road is approximately 20 feet wide.  He stated there are moisture spots that may be a problem during construction due to heavy vehicles.  He stated before any final inspections can be made, he will need as built drawings for storm drains and street lighting drawings.

11. Russell Owen stated the driveways will extend 20-25 feet off the road.  

12. Don McGinnis, Building Inspector emphasized that water and sewer must be in, accepted and turned on before any building is started.  He stated soil erosion must be in place and sidewalks will be required on at least one side of the street.  

13. Don McGinnis, Building Inspector inquired if there were any additional comments.  Mr. Owen stated the lake is a main focal point for the development and it will be protected during construction.  It will be improved by adding docks and access all the way around for both developments.  
14. The meeting was adjourned at approximately 11:50 A.M.  
Submitted:


____________________________



Cathy Harrison, City Administrator







1

